## Description
in QC A, B and C a PFAS mixture containing the targets (5 ng each) was spiked on PL-4 tissue (pilot whale liver of individual 4).
Under DATA there are the concentrations in the extract (in ng/ul) of target PFAS in QCs samples after substraction of background concentrations and substraction of concentrations in blanks (6:2 FTSA is the only target present in blanks).
NB: for comparison with predicted concentrations, substractions of background and blanks need to be done too and remember the extract was diluted 1:1 with a buffer.

## QCs-recovery
6:2 FTSA values before blank substraction
|  | Extract weight (g) | Extract volume (ul) | mass (g)
| QCNA | 0.8624 | 1097.201 | 0.5429
| QCNB | 0.7559 | 961.7048 | 0.5632
| QCNC | 0.7484 | 952.1628 | 0.5244 | [17 empty] | 1.255
1.435
1.485
↓
Output from tracefinder (cal were input as Cnative/Cistd)
|  | PFCAs | [11 empty] | PFSAs |  |  |  | n:3 FTCAs |  |  | n:2 FTSAs |  |  | FASAs |  |  | FASAAs |  |  | diPAPs
|  | PFPeA | PFHxA | PFHpA | PFOA | PFNA | PFDA | PFUnDA | PFDoDA | PFTriDA | PFTeDA | PFHxDA | PFOcDA | PFBS | PFHxS | PFOS | PFDS | FPrPA | FPePA | FHpPA (7_3FTA) | 4_2 FTS | 6_2 FTS | 8_2 FTS | FOSA | MeFOSA | EtFOSA | FOSAA | MeFOSAA | EtFOSAA | 6_2 diPAP | 6_2_8_2 diPAP | 8_2 diPAP | NaDONA | 9Cl-PF3ONS | 11Cl-PF3OUdS
| ISTD | 1.047 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.021 | 1.021 | 1.021 | 1.006 | 1.02 | 1.018 | 1.015 | 1.015 | 1.015 | 1.018 | 1.018 | 1.018 | 1.005 | 1.005 | 1.005
| QCN-AL | 1.285 | 1.071 | 1.095 | 1.183 | 2.238 | 2.773 | 7.042 | 2.372 | 7.097 | 2.705 | 2.146 | 3.156 | 1.264 | 1.732 | 3.176 | 1.184 | 0.477 | 0.585 | 0.712 | 0.417 | 1.2213 | 0.616 | 2.558 | 1.661 | 1.952 | 1.806 | 1.117 | 1.022 | 1.144 | 0.944 | 1.115 | 1.141 | 1.078 | 1.113
| QCN-BL | 1.443 | 1.254 | 1.228 | 1.403 | 2.562 | 3.215 | 7.876 | 2.707 | 8.195 | 3.182 | 2.559 | 3.555 | 1.314 | 1.822 | 3.516 | 1.253 | 0.557 | 0.720 | 0.877 | 0.503 | 1.4276 | 0.724 | 2.830 | 1.929 | 2.262 | 2.064 | 1.292 | 1.112 | 1.261 | 1.072 | 1.294 | 1.235 | 1.205 | 1.155
| QCN-CL | 1.493 | 1.305 | 1.234 | 1.428 | 2.251 | 2.784 | 6.474 | 2.401 | 6.616 | 2.787 | 2.498 | 3.291 | 1.351 | 1.863 | 2.990 | 1.238 | 0.542 | 0.777 | 0.869 | 0.625 | 1.4292 | 0.759 | 2.490 | 2.133 | 2.358 | 2.048 | 1.299 | 1.190 | 1.290 | 1.090 | 1.198 | 1.277 | 1.201 | 1.215
|  | IS corrected (tot ng in 250 ul) |  |  | IS added only to 250 ul portion of extract
|  | PFCAs | [11 empty] | PFSAs |  |  |  | n:3 FTCAs |  |  | n:2 FTSAs |  |  | FASAs |  |  | FASAAs |  |  | diPAPs
|  | PFPeA | PFHxA | PFHpA | PFOA | PFNA | PFDA | PFUnDA | PFDoDA | PFTriDA | PFTeDA | PFHxDA | PFOcDA | PFBS | PFHxS | PFOS | PFDS | FPrPA | FPePA | FHpPA (7_3FTA) | 4_2 FTS | 6_2 FTS | 8_2 FTS | FOSA | MeFOSA | EtFOSA | FOSAA | MeFOSAA | EtFOSAA | 6_2 diPAP | 6_2_8_2 diPAP | 8_2 diPAP | NaDONA | 9Cl-PF3ONS | 11Cl-PF3OUdS
| ISTD | 1.047 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.021 | 1.021 | 1.021 | 1.006 | 1.02 | 1.018 | 1.015 | 1.015 | 1.015 | 1.018 | 1.018 | 1.018 | 1.005 | 1.005 | 1.005
| QCN-AL | 1.3454 | 1.0764 | 1.1005 | 1.1889 | 2.2492 | 2.7869 | 7.0772 | 2.3839 | 7.1325 | 2.7185 | 2.1567 | 3.1718 | 1.2703 | 1.7407 | 3.1919 | 1.1899 | 0.47938 | 0.58792 | 0.71556 | 0.42576 | 1.247 | 0.62894 | 2.5733 | 1.6942 | 1.9871 | 1.8331 | 1.1338 | 1.0373 | 1.1646 | 0.96099 | 1.1351 | 1.1467 | 1.0834 | 1.1186
| QCN-BL | 1.5108 | 1.2603 | 1.2341 | 1.41 | 2.5748 | 3.2311 | 7.9154 | 2.7205 | 8.236 | 3.1979 | 2.5718 | 3.5728 | 1.3206 | 1.8311 | 3.5336 | 1.2593 | 0.55978 | 0.7236 | 0.88138 | 0.51356 | 1.4576 | 0.7392 | 2.847 | 1.9676 | 2.3027 | 2.095 | 1.3114 | 1.1287 | 1.2837 | 1.0913 | 1.3173 | 1.2412 | 1.211 | 1.1608
| QCN-CL | 1.5632 | 1.3115 | 1.2402 | 1.4351 | 2.2623 | 2.7979 | 6.5064 | 2.413 | 6.6491 | 2.8009 | 2.5105 | 3.3075 | 1.3578 | 1.8723 | 3.005 | 1.2442 | 0.54471 | 0.78088 | 0.87334 | 0.63812 | 1.4592 | 0.77494 | 2.5049 | 2.1757 | 2.4004 | 2.0787 | 1.3185 | 1.2078 | 1.3132 | 1.1096 | 1.2196 | 1.2834 | 1.207 | 1.2211
total ng in extract
|  | PFCAs | [11 empty] | PFSAs |  |  |  | n:3 FTCAs |  |  | n:2 FTSAs |  |  | FASAs |  |  | FASAAs |  |  | diPAPs
|  | PFPeA | PFHxA | PFHpA | PFOA | PFNA | PFDA | PFUnDA | PFDoDA | PFTriDA | PFTeDA | PFHxDA | PFOcDA | PFBS | PFHxS | PFOS | PFDS | FPrPA | FPePA | FHpPA (7_3FTA) | 4_2 FTS | 6_2 FTS | 8_2 FTS | FOSA | MeFOSA | EtFOSA | FOSAA | MeFOSAA | EtFOSAA | 6_2 diPAP | 6_2_8_2 diPAP | 8_2 diPAP | NaDONA | 9Cl-PF3ONS | 11Cl-PF3OUdS
Envicarb (ul) | ISTD | 1.047 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.005 | 1.021 | 1.021 | 1.021 | 1.006 | 1.02 | 1.018 | 1.015 | 1.015 | 1.015 | 1.018 | 1.018 | 1.018 | 1.005 | 1.005 | 1.005
1097.201 | QCN-AL | 5.9047 | 4.7239 | 4.8298 | 5.2179 | 9.8713 | 12.231 | 31.0605 | 10.4623 | 31.3031 | 11.9311 | 9.4655 | 13.9203 | 5.5752 | 7.6394 | 14.0085 | 5.2223 | 2.1039 | 2.5803 | 3.1405 | 1.8686 | 5.4728 | 2.7603 | 11.2939 | 7.4356 | 8.7212 | 8.0451 | 4.9758 | 4.5526 | 5.1112 | 4.2176 | 4.9816 | 5.0327 | 4.7548 | 4.9092
961.7048 | QCN-BL | 5.8119 | 4.848 | 4.7475 | 5.4241 | 9.9048 | 12.4294 | 30.449 | 10.4654 | 31.6823 | 12.3018 | 9.8932 | 13.7438 | 5.08 | 7.0439 | 13.593 | 4.8442 | 2.1534 | 2.7836 | 3.3905 | 1.9756 | 5.6072 | 2.8436 | 10.9518 | 7.5689 | 8.8581 | 8.0589 | 5.0446 | 4.3418 | 4.9382 | 4.198 | 5.0674 | 4.7746 | 4.6586 | 4.4653
952.1628 | QCN-CL | 5.9536 | 4.9951 | 4.7234 | 5.4659 | 8.6161 | 10.6563 | 24.7805 | 9.1903 | 25.324 | 10.6678 | 9.5616 | 12.5969 | 5.1712 | 7.131 | 11.4448 | 4.7387 | 2.0746 | 2.9741 | 3.3263 | 2.4304 | 5.5577 | 2.9515 | 9.5404 | 8.2863 | 9.1425 | 7.9171 | 5.0216 | 4.6003 | 5.0016 | 4.2262 | 4.6449 | 4.888 | 4.5971 | 4.6506
PFAS from background (ng)
[5 empty] | PFOA | PFNA | PFDA | PFUnDA | PFDoDA | PFTriDA | PFTeDA | PFHxDA |  |  |  | PFOS | PFDS | [6 empty] | FOSA
cut (g) | PL-4 (ng/g)-> |  |  |  | 0.49281 | 8.8975 | 13.0909 | 49.129 | 9.462 | 46.6918 | 7.9477 | 0.026881 |  |  |  | 16.8184 | 0.34049 | [6 empty] | 10.7643
0.5429 | QCN-AL |  |  |  | 0.26755 | 4.8305 | 7.1071 | 26.6721 | 5.1369 | 25.349 | 4.3148 | 0.014594 |  |  |  | 9.1307 | 0.18485 | [6 empty] | 5.8439
0.5632 | QCN-BL |  |  |  | 0.27755 | 5.0111 | 7.3728 | 27.6694 | 5.329 | 26.2968 | 4.4762 | 0.015139 |  |  |  | 9.4721 | 0.19176 | [6 empty] | 6.0625
0.5244 | QCN-CL |  |  |  | 0.25843 | 4.6659 | 6.8649 | 25.7632 | 4.9619 | 24.4852 | 4.1678 | 0.014096 |  |  |  | 8.8196 | 0.17855 | [6 empty] | 5.6448
Subtraction of background (ng)
|  | PFPeA | PFHxA | PFHpA | PFOA | PFNA | PFDA | PFUnDA | PFDoDA | PFTriDA | PFTeDA | PFHxDA | PFOcDA | PFBS | PFHxS | PFOS | PFDS | 3:3 FTCA | 5:3 FTCA | 7:3 FTCA | 4:2 FTS | 6:2 FTS | 8:2 FTS | FOSA | MeFOSA | EtFOSA | FOSAA | MeFOSAA | EtFOSAA | 6_2 diPAP | 6_2_8_2 diPAP | 8_2 diPAP | NaDONA | 9Cl-PF3ONS | 11Cl-PF3OUdS
| QCN-AL | 5.9047 | 4.7239 | 4.8298 | 4.9504 | 5.0408 | 5.124 | 4.3884 | 5.3254 | 5.9541 | 7.6163 | 9.4509 | 13.9203 | 5.5752 | 7.6394 | 4.8778 | 5.0375 | 2.1039 | 2.5803 | 3.1405 | 1.8686 | 5.4728 | 2.7603 | 5.45 | 7.4356 | 8.7212 | 8.0451 | 4.9758 | 4.5526 | 5.1112 | 4.2176 | 4.9816 | 5.0327 | 4.7548 | 4.9092
| QCN-BL | 5.8119 | 4.848 | 4.7475 | 5.1465 | 4.8937 | 5.0566 | 2.7796 | 5.1364 | 5.3855 | 7.8256 | 9.8781 | 13.7438 | 5.08 | 7.0439 | 4.1209 | 4.6524 | 2.1534 | 2.7836 | 3.3905 | 1.9756 | 5.6072 | 2.8436 | 4.8894 | 7.5689 | 8.8581 | 8.0589 | 5.0446 | 4.3418 | 4.9382 | 4.198 | 5.0674 | 4.7746 | 4.6586 | 4.4653
| QCN-CL | 5.9536 | 4.9951 | 4.7234 | 5.2075 | 3.9503 | 3.7914 | 0 | 4.2284 | 0.83885 | 6.5 | 9.5475 | 12.5969 | 5.1712 | 7.131 | 2.6253 | 4.5601 | 2.0746 | 2.9741 | 3.3263 | 2.4304 | 5.5577 | 2.9515 | 3.8956 | 8.2863 | 9.1425 | 7.9171 | 5.0216 | 4.6003 | 5.0016 | 4.2262 | 4.6449 | 4.888 | 4.5971 | 4.6506
| AVERAGE | 5.89 | 4.8557 | 4.7669 | 5.1015 | 4.6283 | 4.6573 | 2.3893 | 4.8967 | 4.0595 | 7.314 | 9.6255 | 13.4204 | 5.2755 | 7.2715 | 3.8747 | 4.75 | 2.1106 | 2.7793 | 3.2857 | 2.0915 | 5.5459 | 2.8518 | 4.745 | 7.7636 | 8.9072 | 8.007 | 5.014 | 4.4982 | 5.017 | 4.2139 | 4.898 | 4.8984 | 4.6701 | 4.675
| Native Spiked (ng) | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 4.8 | 4.8 | 5 | 5 | 5 | 5 | 5 | 5 | 5.1 | 5 | 5.1 | 5.1 | 5 | 5 | 5.2 | 5.1 | 5 | 5.1 | 5 | 5
| QCN-AL | 1.1809 | 0.94478 | 0.96595 | 0.99007 | 1.0082 | 1.0248 | 0.87767 | 1.0651 | 1.1908 | 1.5233 | 1.8902 | 2.7841 | 1.115 | 1.5279 | 1.0162 | 1.0495 | 0.42079 | 0.51606 | 0.62809 | 0.37371 | 1.0946 | 0.55206 | 1.0686 | 1.4871 | 1.71 | 1.5775 | 0.99517 | 0.91053 | 0.98292 | 0.82698 | 0.99632 | 0.9868 | 0.95096 | 0.98183
| QCN-BL | 1.1624 | 0.96961 | 0.9495 | 1.0293 | 0.97875 | 1.0113 | 0.55592 | 1.0273 | 1.0771 | 1.5651 | 1.9756 | 2.7488 | 1.016 | 1.4088 | 0.85853 | 0.96925 | 0.43068 | 0.55671 | 0.67811 | 0.39512 | 1.1214 | 0.56872 | 0.9587 | 1.5138 | 1.7369 | 1.5802 | 1.0089 | 0.86837 | 0.94965 | 0.82314 | 1.0135 | 0.93619 | 0.93172 | 0.89306
| QCN-CL | 1.1907 | 0.99903 | 0.94468 | 1.0415 | 0.79006 | 0.75829 | 0 | 0.84568 | 0.16777 | 1.3 | 1.9095 | 2.5194 | 1.0342 | 1.4262 | 0.54693 | 0.95003 | 0.41492 | 0.59482 | 0.66525 | 0.48608 | 1.1115 | 0.59029 | 0.76385 | 1.6573 | 1.7926 | 1.5524 | 1.0043 | 0.92006 | 0.96185 | 0.82866 | 0.92898 | 0.95842 | 0.91941 | 0.93013
Target with * are not in any samples |  | PFPeA* | PFHxA | PFHpA | PFOA | PFNA | PFDA | PFUnDA | PFDoDA | PFTriDA | PFTeDA | PFHxDA* | PFOcDA* | PFBS* | PFHxS | PFOS | PFDS | 3:3 FTCA* | 5:3 FTCA* | 7:3 FTCA* | 4:2 FTS* | 6:2 FTS* | 8:2 FTS | FOSA | MeFOSA* | EtFOSA* | FOSAA* | MeFOSAA* | EtFOSAA* | 6_2 diPAP* | 6_2_8_2 diPAP* | 8_2 diPAP* | NaDONA* | 9Cl-PF3ONS* | 11Cl-PF3OUdS*
| Recovery | 1.178 | 0.97114 | 0.95338 | 1.0203 | 0.92565 | 0.93146 | 0.47786 | 0.97935 | 0.8119 | 1.4628 | 1.9251 | 2.6841 | 1.0551 | 1.4543 | 0.80723 | 0.98958 | 0.42213 | 0.55586 | 0.65715 | 0.4183 | 1.1092 | 0.57036 | 0.93039 | 1.5527 | 1.7465 | 1.57 | 1.0028 | 0.89965 | 0.9648 | 0.82626 | 0.97959 | 0.96047 | 0.93403 | 0.93501
| Recovery (%) | 117.8% | 97.11% | 95.34% | 102% | 92.57% | 93.15% | 47.79% | 97.93% | 81.19% | 146.3% | 192.5% | 268.4% | 105.5% | 145.4% | 80.72% | 98.96% | 42.21% | 55.59% | 65.71% | 41.83% | 110.9% | 57.04% | 93.04% | 155.3% | 174.7% | 157% | 100.3% | 89.96% | 96.48% | 82.63% | 97.96% | 96.05% | 93.4% | 93.5%
| Std Dev | 0.014397 | 0.027155 | 0.011156 | 0.026873 | 0.11835 | 0.15013 | 0.44401 | 0.11729 | 0.56072 | 0.14253 | 0.044807 | 0.14371 | 0.052708 | 0.064325 | 0.23881 | 0.052749 | 0.0079635 | 0.03939 | 0.025974 | 0.059664 | 0.013596 | 0.019172 | 0.15435 | 0.091513 | 0.042138 | 0.01533 | 0.0070064 | 0.027509 | 0.016832 | 0.0028284 | 0.044664 | 0.025365 | 0.015899 | 0.044588
| RSD (%) | 1.222% | 2.796% | 1.17% | 2.634% | 12.79% | 16.12% | 92.92% | 11.98% | 69.06% | 9.744% | 2.328% | 5.354% | 4.996% | 4.423% | 29.58% | 5.33% | 1.887% | 7.086% | 3.952% | 14.26% | 1.226% | 3.361% | 16.59% | 5.894% | 2.413% | 0.9764% | 0.6987% | 3.058% | 1.745% | 0.3423% | 4.559% | 2.641% | 1.702% | 4.769%
Subtraction of background (ng)
|  | PFPeA | PFHxA | PFHpA | PFOA | PFNA | PFDA | PFUnDA | PFDoDA | PFTriDA | PFTeDA | PFHxDA | PFOcDA | PFBS | PFHxS | PFOS | PFDS | 3:3 FTCA | 5:3 FTCA | 7:3 FTCA | 4:2 FTS | 6:2 FTS | 8:2 FTS | FOSA | MeFOSA | EtFOSA | FOSAA | MeFOSAA | EtFOSAA | 6_2 diPAP | 6_2_8_2 diPAP | 8_2 diPAP | NaDONA | 9Cl-PF3ONS | 11Cl-PF3OUdS
| QCN-AL | 5.9047 | 4.7239 | 4.8298 | 4.9504 | 5.0408 | 5.124 | 4.3884 | 5.3254 | 5.9541 | 7.6163 | 9.4509 | 13.9203 | 5.5752 | 7.6394 | 4.8778 | 5.0375 | 2.1039 | 2.5803 | 3.1405 | 1.8686 | 5.4728 | 2.7603 | 5.45 | 7.4356 | 8.7212 | 8.0451 | 4.9758 | 4.5526 | 5.1112 | 4.2176 | 4.9816 | 5.0327 | 4.7548 | 4.9092
| QCN-BL | 5.8119 | 4.848 | 4.7475 | 5.1465 | 4.8937 | 5.0566 | 2.7796 | 5.1364 | 5.3855 | 7.8256 | 9.8781 | 13.7438 | 5.08 | 7.0439 | 4.1209 | 4.6524 | 2.1534 | 2.7836 | 3.3905 | 1.9756 | 5.6072 | 2.8436 | 4.8894 | 7.5689 | 8.8581 | 8.0589 | 5.0446 | 4.3418 | 4.9382 | 4.198 | 5.0674 | 4.7746 | 4.6586 | 4.4653
| QCN-CL | 5.9536 | 4.9951 | 4.7234 | 5.2075 | 3.9503 | 3.7914 | 0 | 4.2284 | 0.83885 | 6.5 | 9.5475 | 12.5969 | 5.1712 | 7.131 | 2.6253 | 4.5601 | 2.0746 | 2.9741 | 3.3263 | 2.4304 | 5.5577 | 2.9515 | 3.8956 | 8.2863 | 9.1425 | 7.9171 | 5.0216 | 4.6003 | 5.0016 | 4.2262 | 4.6449 | 4.888 | 4.5971 | 4.6506
Concentration in extract (ng/ul)
Extract volume (ul) |  | PFPeA | PFHxA | PFHpA | PFOA | PFNA | PFDA | PFUnDA | PFDoDA | PFTriDA | PFTeDA | PFHxDA | PFOcDA | PFBS | PFHxS | PFOS | PFDS | 3:3 FTCA | 5:3 FTCA | 7:3 FTCA | 4:2 FTS | 6:2 FTS | 8:2 FTS | FOSA | MeFOSA | EtFOSA | FOSAA | MeFOSAA | EtFOSAA | 6_2 diPAP | 6_2_8_2 diPAP | 8_2 diPAP | NaDONA | 9Cl-PF3ONS | 11Cl-PF3OUdS
1097.201 | QCN-AL | 0.0053816 | 0.0043054 | 0.0044019 | 0.0045118 | 0.0045942 | 0.00467 | 0.0039996 | 0.0048536 | 0.0054266 | 0.0069415 | 0.0086136 | 0.012687 | 0.0050813 | 0.0069626 | 0.0044457 | 0.0045912 | 0.0019175 | 0.0023517 | 0.0028622 | 0.001703 | 0.0049879 | 0.0025157 | 0.0049672 | 0.0067769 | 0.0079485 | 0.0073324 | 0.004535 | 0.0041493 | 0.0046584 | 0.003844 | 0.0045403 | 0.0045868 | 0.0043336 | 0.0044743
961.7048 | QCN-BL | 0.0060433 | 0.0050411 | 0.0049366 | 0.0053515 | 0.0050886 | 0.0052579 | 0.0028903 | 0.0053409 | 0.0055999 | 0.0081372 | 0.010271 | 0.014291 | 0.0052823 | 0.0073244 | 0.004285 | 0.0048377 | 0.0022391 | 0.0028944 | 0.0035255 | 0.0020543 | 0.0058304 | 0.0029568 | 0.0050841 | 0.0078703 | 0.0092109 | 0.0083798 | 0.0052455 | 0.0045147 | 0.0051348 | 0.0043652 | 0.0052692 | 0.0049647 | 0.0048441 | 0.0046431
952.1628 | QCN-CL | 0.0062527 | 0.0052461 | 0.0049607 | 0.0054691 | 0.0041487 | 0.0039819 | 0 | 0.0044409 | 0.00088099 | 0.0068266 | 0.010027 | 0.01323 | 0.005431 | 0.0074893 | 0.0027572 | 0.0047892 | 0.0021788 | 0.0031235 | 0.0034934 | 0.0025525 | 0.0058369 | 0.0030998 | 0.0040914 | 0.0087026 | 0.0096018 | 0.0083149 | 0.0052739 | 0.0048314 | 0.0052529 | 0.0044385 | 0.0048783 | 0.0051335 | 0.004828 | 0.0048843

## DATA
Concentration in extract (ng/ul)
sample weight (g) | Extract volume (ul) | Sample | PFPeA | PFHxA | PFHpA | PFOA | PFNA | PFDA | PFUnDA | PFDoDA | PFTriDA | PFTeDA | PFHxDA | PFOcDA | PFBS | PFHxS | PFOS | PFDS | 3:3 FTCA | 5:3 FTCA | 7:3 FTCA | 4:2 FTS | 6:2 FTS | 8:2 FTS | FOSA | MeFOSA | EtFOSA | FOSAA | MeFOSAA | EtFOSAA | 6_2 diPAP | 6_2_8_2 diPAP | 8_2 diPAP | NaDONA | 9Cl-PF3ONS | 11Cl-PF3OUdS
0.5429 | 1097.201 | QCN-AL | 0.0053816 | 0.0043054 | 0.0044019 | 0.0045118 | 0.0045942 | 0.00467 | 0.0039996 | 0.0048536 | 0.0054266 | 0.0069415 | 0.0086136 | 0.012687 | 0.0050813 | 0.0069626 | 0.0044457 | 0.0045912 | 0.0019175 | 0.0023517 | 0.0028622 | 0.001703 | 0.0049879 | 0.0025157 | 0.0049672 | 0.0067769 | 0.0079485 | 0.0073324 | 0.004535 | 0.0041493 | 0.0046584 | 0.003844 | 0.0045403 | 0.0045868 | 0.0043336 | 0.0044743
0.5632 | 961.7048 | QCN-BL | 0.0060433 | 0.0050411 | 0.0049366 | 0.0053515 | 0.0050886 | 0.0052579 | 0.0028903 | 0.0053409 | 0.0055999 | 0.0081372 | 0.010271 | 0.014291 | 0.0052823 | 0.0073244 | 0.004285 | 0.0048377 | 0.0022391 | 0.0028944 | 0.0035255 | 0.0020543 | 0.0058304 | 0.0029568 | 0.0050841 | 0.0078703 | 0.0092109 | 0.0083798 | 0.0052455 | 0.0045147 | 0.0051348 | 0.0043652 | 0.0052692 | 0.0049647 | 0.0048441 | 0.0046431
0.5244 | 952.1628 | QCN-CL | 0.0062527 | 0.0052461 | 0.0049607 | 0.0054691 | 0.0041487 | 0.0039819 | 0 | 0.0044409 | 0.00088099 | 0.0068266 | 0.010027 | 0.01323 | 0.005431 | 0.0074893 | 0.0027572 | 0.0047892 | 0.0021788 | 0.0031235 | 0.0034934 | 0.0025525 | 0.0058369 | 0.0030998 | 0.0040914 | 0.0087026 | 0.0096018 | 0.0083149 | 0.0052739 | 0.0048314 | 0.0052529 | 0.0044385 | 0.0048783 | 0.0051335 | 0.004828 | 0.0048843