## Sheet1
ID | RT (2020071202-cal8.raw) | ms2 RT | Method m/z [M-H]- | frag m/z 1 | MS2 comp frag m/z 2 | notes | SMILES | Class | Formula | Monoisotopic mass (da)
|  |  |  | C02 (theoretical) | [5 empty] | *from chemspider
10:2 diPAP | 9.05 |  | 1188.9495 | not detected (ND) |  |  | O[P](=O)(OCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F)OCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Fluorotelomer phosphate ester | C24H9F42O4P
10:2 mono PAP | 9.40 |  | 642.9596 | ND |  |  | OP(O)(=O)OCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Fluorotelomer phosphate ester | C12F21H6O4P
11Cl-PF3OUdS | 6.21 |  | 630.8892 | no fragments (NA) |  |  | O[S](=O)(=O)C(F)(F)C(F)(F)OC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)Cl | Chlorinated polyfluorinated ether sulfonates | C10F20O4SClH
4:2 diPAP | 5.44 |  | 587.98 | ND |  |  | O[P](=O)(OCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)F)OCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Fluorotelomer phosphate ester | C12H9F18O4P | 589.9951
4:2 FTS | 2.46 |  | 326.9743 | NA |  |  | O[S](=O)(=O)CCC(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Fluorotelomer sulfonic acid | C6F9H5SO3 | 327.9816
4:2 mono PAP | 0.96 | 1.89 | 342.9787 | 262.97612 (RT=1.63) |  | loss of HPO3 | OP(O)(=O)OCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Fluorotelomer phosphate ester | C6F9H6O4P | 343.986
6:2 diPAP | 6.44 | 6.31 | 788.9751 | NA |  | 6.23min in RIC | O[P](=O)(OCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F)OCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Fluorotelomer phosphate ester | C16H9F26O4P
6:2 FTS | 4.04 | 3.81 | 426.9679 | NA |  |  | O[S](=O)(=O)CCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Fluorotelomer sulfonic acid | C8F13H5SO3 | 427.9752
6:2 mono PAP | 3.53 | 3.62 | 442.9723 | 362.9697 | 363.2382 | loss of HP03 | O[P](O)(=O)OCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Fluorotelomer phosphate ester | C8F13H6O4P | 443.9796
6:2/8:2 diPAP | 6.89 |  | 888.9687 | NA |  |  | O[P](=O)(OCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F)OCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Fluorotelomer phosphate ester | C18H9F30O4P | 889.976
6:2/8:2 diPAP isomer | [6 empty] | O[P](=O)(OCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F)OCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Fluorotelomer phosphate ester
8:2 diPAP | 7.72 | 7.48 | 988.9623 | 301.15966? |  |  | O[P](=O)(OCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F)OCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Fluorotelomer phosphate ester | C20H9F34O4P
8:2 FTS | 4.97 |  | 526.9615 | NA |  |  | O[S](=O)(=O)CCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Fluorotelomer sulfonic acid | C10F17H5SO3 | 527.9688
8:2 mono PAP | 4.70 | 4.55 | 542.966 | 418.9735 |  | tailing ++ | OP(O)(=O)OCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Fluorotelomer phosphate ester | C10F17H6O4P | 543.9732
9Cl-PF3ONS | 5.55 |  | 530.8956 | NA |  | co-eluting w/EtFOSAA | O[S](=O)(=O)C(F)(F)C(F)(F)OC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)Cl | Chlorinated polyfluorinated ether sulfonates | ClC8F16O4SH
EtFOSA | 7.85 |  | 525.9775 | NA |  |  | CCNS(=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoroalkane sulfonamides | C10F17SO2NH6 | 526.9848
EtFOSAA | 5.44 | 5.35 | 583.983 | NA |  |  | CCN(CC(O)=O)[S](=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoroalkane sulfonamidoacetic acids | C12F17SO4NH8 | 584.9903
EtFOSE | 7.71 |  | 630.0249 | 616.0943 |  | CH3 loss | CCN(CCO)[S](=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoroalkane sulfamido ethanols | C12F17SO3NH10 | 571.011
FHpPA (7:3 FTCA) | 4.80 | 5.01 | 440.9977 | 336.9891 |  | co-eluting w/ PFOS, which has a much higher response factor | OC(=O)CCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Fluorotelomer carboxylic acid | C10F15H5O2
FOSA | 6.56 |  | 497.9462 | NA |  |  | N[S](=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoroalkane sulfonamides | C8F17SO2NH2
FOSAA | 5.00 | 4.98 | 555.9517 | NA |  |  | OC(=O)CN[S](=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoroalkane sulfonamidoacetic acids | C10H4F17NO4S
FPePA (5:3 FTCA) | 3.60 |  | 341.0041 | 236.9955 |  | co-eluting with NaDONA | OC(=O)CCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Fluorotelomer carboxylic acid | C8F11H5O2
FPrPA (3:3 FTCA) | 1.30 |  | 241.0105 | NA |  |  | OC(=O)CCC(F)(F)C(F)(F)C(F)(F)F | Fluorotelomer carboxylic acid | C6F7H5O2
HFPO-DA | 3.10 |  | 328.9677 | 284.978 |  |  | [NH4+].[O-]C(=O)C(F)(OC(F)(F)C(F)(F)C(F)(F)F)C(F)(F)F | Chlorinated polyfluorinated ether carboxylic acids | C6F11O3H
MeFOSA | 7.64 |  | 511.9619 | NA |  |  | CN(CC(O)=O)[S](=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoroalkane sulfonamides | C9F17SO2NH4
MeFOSAA | 5.25 |  | 569.9673 | NA |  |  | CN(CC(O)=O)S(=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoroalkane sulfonamidoacetic acids | C11F17SO4NH6 | 570.9746
MeFOSE | 7.39 |  | 616.0092 | 601.99405, 526 |  | CH3 loss | CN(CCO)S(=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoroalkane sulfamido ethanols | C11F17SO3NH8 | 556.9953
NaDONA | 3.60 |  | 376.9689 | 250.9757 |  | loss of COOHC2F3H | OC(=O)C(F)(F)C(F)OC(F)(F)C(F)(F)C(F)(F)OC(F)(F)F | Chlorinated polyfluorinated ether carboxylic acids | C7F12O4H2 | 377.9761
PFBA | 0.70 |  | 212.9792 | 168.9792 |  | eluting in +/- dead volume | OC(=O)C(F)(F)C(F)(F)C(F)(F)F | Perfluoro carboxylic acid | C4F7O2H | 213.9865
PFBS | 2.50 |  | 298.943 | NA |  |  | OS(=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | PerFluoroSulfonicAcid | C4F9SO3H | 299.9503
PFBS-br | [6 empty] | FC(F)C(F)(F)OC(F)(F)C(F)(F)S(F)(=O)=O | PerFluoroSulfonicAcid | C4F9SO3H
PFDA | 5.15 |  | 512.96 | 468.96 |  |  | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoro carboxylic acid | C10F19O2H | 513.9673
PFDA-br | [6 empty] | OC(=O)C(F)(F)C(F)(C(F)(F)F)C(F)(F)C(F)(F)C(F)(F)C(F)(C(F)(F)F)C(F)(F)F | Perfluoro carboxylic acid | C10F19O2H
PFDoDA | 6.02 |  | 612.9537 | 568.9537 |  |  | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoro carboxylic acid | C12F23O2H | 613.9609
PFDS | 5.93 |  | 598.9238 | NA |  |  | O[S](=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | PerFluoroSulfonicAcid | C10F21SO3H
PFHpA | 3.42 |  | 362.9696 | 318.9696 |  |  | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoro carboxylic acid | C7F13O2H
PFHpA-br | [6 empty] | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(C(F)(F)F)C(F)(F)F | Perfluoro carboxylic acid | C7F13O2H
PFHpS | 4.57 |  | 448.9334 | ND |  | no std. | O[S](=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoro sulfonic acid | C7F15SO3H
PFHpS-br | 4.40 |  | 448.9334 |  |  |  | FC(F)(F)C(O[S](=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F)C(F)(F)F | Perfluoro sulfonic acid | C7F15SO3H | 449.9407
PFHxA | 2.70 |  | 312.9728 | 268.9728 |  |  | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoro carboxylic acid | C6F11O2H
PFHxDA | 7.35 |  | 812.9409 | 768.9515 |  |  | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoro carboxylic acid | C16F31O2H | 813.9482
PFHxS | 4.02 |  | 398.9366 | NA |  |  | [O-][S](=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoro sulfonic acid | C6F13SO3H
PFHxS-br | 3.85 | [6 empty] | Perfluoro sulfonic acid | C6F13SO3H
PFNA | 4.68 |  | 462.9632 | 418.9632 |  |  | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(C(F)(F)F)C(F)(F)F | Perfluoro carboxylic acid | C9F17O2H | 463.9705
PFNA-br ? | [6 empty] | OC(=O)C(F)(F)C(F)(C(F)(F)F)C(F)(F)C(C(F)(F)F)(C(F)(F)F)C(F)(F)F | Perfluoro carboxylic acid | C9F17O2H
PFNS | 5.50 |  | 548.927 | ND |  | no std. | OS(=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoro sulfonic acid | C9F19SO3H | 549.9343
PFNS-br | 5.35 |  | 548.927 | ND |  |  |  | Perfluoro sulfonic acid | C9F19SO3H
PFOA | 4.01 |  | 412.9664 | 368.9664 |  |  | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoro carboxylic acid | C8F15O2H | 413.9737
PFOA-Br | [6 empty] | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(C(F)(F)F)C(F)(F)F | Perfluoro carboxylic acid | C8F15O2H
PFOcDA | 7.96 |  | 912.9345 | 868.9459 |  |  | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoro carboxylic acid | C18F35O2H | 913.9418
PFOS | 5.05 |  | 498.9302 | NA |  |  | O[S](=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoro sulfonic acid | C8F17SO3H
PFOS-br (many) | 4.90 |  | 498.9302 |  |  |  |  | Perfluoro sulfonic acid | C8F17SO3H
PFPeA | 1.63 |  | 262.976 | 218.9858 |  |  | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoro carboxylic acid | C5F9O2H | 263.9833
PFPeDA | 6.98 |  | 762.9441 | 718.9441 |  | no std. | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(C(F)(F)F)C(F)(F)F | Perfluoro carboxylic acid | C15F29O2H | 763.9513
PFPeS | 3.39 |  | 348.9398 | ND |  | no std. | OS(=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoro sulfonic acid | C5F11SO3H | 349.9471
PFTeDA | 6.61 |  | 712.9473 | 668.9473 |  |  | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoro carboxylic acid | C14F27O2H
PFTriDA | 6.23 |  | 662.9505 | 618.9505 |  |  | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoro carboxylic acid | C13F25O2H | 663.9577
PFTriDA-br | [6 empty] | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(C(F)(F)F)C(F)(F)F | Perfluoro carboxylic acid | C13F25O2H
PFUnDA | 5.41 |  | 562.9568 | 518.9568 |  |  | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoro carboxylic acid | C11F21O2H | 563.9641
PFUnDA-br | [7 empty] | Perfluoro carboxylic acid | C11F21O2H | 563.9641
PFUnDS | 6.50 |  | 648.9206 | ND |  | no std. | O[S](=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F | Perfluoro sulfonic acid |  | 648.9207
No standard
Note on K1: Labuser: (S14 KEMI, doi: 10.5281/zenodo.2621524